TRANSMISSION LINE INSULATOR THERMAL INSPECTION REPORT

Line ID: {{ line_id }}

Date: {{ report_date }}

Report number: {{ report_number }}

1. Inspection Information

| Line Name | {{ line_name }} | Voltage Level | {{ voltage_level }} |
| --- | --- | --- | --- |
| Line Section | {{ line_section }} | Inspector(s) | {{ inspectors }} |
| Inspection Date | {{ inspection_date }} | Inspection Time (24 hours format) | {{ inspection_time }} |

2. Thermal Camera and Inspection Parameters

| Camera Make / Model | {{ camera_make_model }} | Serial No. | {{ camera_serial_no }} |
| --- | --- | --- | --- |
| Calibration Certificate No. | {{ calibration_cert_no }} | Calibration Due Date | {{ calibration_due_date }} |
| Emissivity Setting | {{ emissivity }} | Distance to Target | {{ distance_to_target }} |
| Ambient Temperature | {{ ambient_temp }} | Humidity | {{ humidity }} |
| Wind Speed | {{ wind_speed }} | Time | {{ '☒' if is_day else '☐' }} Day {{ '☒' if not (is_day) else '☐' }} Night |
| Load current (Amps) | {{ load_current }} |  |  |

3. Severity Classification and Recommended Action

| Severity | Typical Condition | Recommended Action | Target Time |
| --- | --- | --- | --- |
| Normal (ΔT) ≤ 5°C | No abnormal thermal indication | Continue routine monitoring | Routine |
| Low (ΔT) > 5°C to 10°C | Minor temperature difference or early indication | Monitor and reinspect | Scheduled |
| Medium (ΔT) > 10°C to 20°C | Abnormal thermal indication requiring attention | Detailed inspection / maintenance | Priority |
| High / Critical (ΔT) > 20°C | Significant hotspot or risk of failure | Immediate engineering assessment and corrective action | Urgent |

4. Inspection findings

Insert visual and infrared images below. Each image should be identified with Tower No., Phase and measured maximum temperature.

{%p for f in findings %}

| No.{{ f.seq }} |  |  |  |
| --- | --- | --- | --- |
| Insulator Details |  |  |  |
| Tower No. | {{ f.tower_id }} | Circuit No. | {{ '☒' if f.ohl == 'OHL1' else '☐' }} OHL-1 / {{ '☒' if f.ohl == 'OHL2' else '☐' }} OHL-2 |
| Phase Position | {{ '☒' if f.phase == 'R' else '☐' }} R / {{ '☒' if f.phase == 'Y' else '☐' }} Y / {{ '☒' if f.phase == 'B' else '☐' }} B | Configuration | {{ '☒' if f.mount_type == 'Suspension' else '☐' }} Suspension / {{ '☒' if f.mount_type == 'Tension' else '☐' }} Tension If tension (Direction: {{ f.tension_direction }}) |
| Insulator Type | {{ '☒' if f.insulator_type == 'Composite' else '☐' }} Composite / {{ '☒' if f.insulator_type == 'Porcelain' else '☐' }} Porcelain |  | {{ '☒' if f.string_count == 'Single' else '☐' }} Single / {{ '☒' if f.string_count == 'Double' else '☐' }} Double If double ({{ '☒' if f.tower_proximity == 'Inner' else '☐' }} Inner / {{ '☒' if f.tower_proximity == 'Outer' else '☐' }} Outer) |
| Manufacturer | {{ f.manufacturer }} | Year Installed | {{ f.year_installed }} |
| Image (Thermal / Visual) |  |  |  |
| {{ f.thermal_full_image }} Thermal (Full): |  | {{ f.thermal_close_image }} Thermal (Close): |  |
| {{ f.visual_full_image }} Visual (Full): |  | {{ f.visual_close_image }} Visual (Close): |  |
| Observations |  |  |  |
| Pollution Condition: {{ '☒' if f.pollution_condition == 'Light' else '☐' }} Light / {{ '☒' if f.pollution_condition == 'Medium' else '☐' }} Medium / {{ '☒' if f.pollution_condition == 'Heavy' else '☐' }} Heavy / {{ '☒' if f.pollution_condition == 'Severe' else '☐' }} Severe Thermal indications: {{ '☒' if f.thermal_indication == 'Hotspot' else '☐' }} Hotspot / {{ '☒' if f.thermal_indication == 'Dry band' else '☐' }} Dry band / {{ '☒' if f.thermal_indication == 'Discharge track' else '☐' }} Discharge track Visual indications: {{ '☒' if 'shed pending' in (f.visual_indications or '') else '☐' }} shed pending / {{ '☒' if 'cracks' in (f.visual_indications or '') else '☐' }} cracks / {{ '☒' if 'erosion' in (f.visual_indications or '') else '☐' }} erosion / {{ '☒' if 'bird waste' in (f.visual_indications or '') else '☐' }} bird waste / {{ '☒' if 'foreign material' in (f.visual_indications or '') else '☐' }} foreign material Any other remark: {{ f.remark }} |  |  |  |

{%p endfor %}

5. Thermal Inspection Measurements

| No. | Location (Tower No) | Max. Temp. (°C) | Reference Temp. (°C) | ΔT (°C) | Severity | Load / Current | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| {%tr for m in measurements %} |  |  |  |  |  |  |  |
| {{ m.seq }} | {{ m.tower_id }} | {{ m.tmax }} | {{ m.tref }} | {{ m.delta_t }} | {{ m.severity_label }} | {{ m.load_current }} | {{ m.remarks }} |
| {%tr endfor %} |  |  |  |  |  |  |  |

6. Overall Assessment

| Overall Condition | {{ '☒' if overall_condition == 'Acceptable' else '☐' }} Acceptable {{ '☒' if overall_condition == 'Monitor' else '☐' }} Monitor {{ '☒' if overall_condition == 'Maintenance Required' else '☐' }} Maintenance Required {{ '☒' if overall_condition == 'Urgent Action Required' else '☐' }} Urgent Action Required |
| --- | --- |
| Probable Cause of Thermal Anomaly | {{ probable_cause }} |
| Recommended Corrective Action | {{ corrective_action }} |
| Additional Comments | {{ additional_comments }} |

7. Approval

| Prepared By | Reviewed By | Approved By | Date |
| --- | --- | --- | --- |
| {{ prepared_by }} | {{ reviewed_by }} | {{ approved_by }} | {{ approval_date }} |